## Sheet1
I. PIPE
WATER AND SEWER LINE
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 2000 | CL 200 PVC 8" |  | 0
2 | 2000 | CL 200 PVC 6" |  | 0
3 | 1000 | CL 200 PVC 4" |  | 0
4 | 3000 | SCH 40 2" |  | 0
5 | 1000 | POLY PIPE (SDR-9) 2" |  | 0
6 | 750 | POLY PIPE (SDR-9) 1 1/2" |  | 0
7 | 2500 | POLY PIPE (SDR-9) 1" |  | 0
8 | 1500 | POLY PIPE (SDR-9) 3/4" |  | 0
9 | 800 | COPPER TUBING TYPE K 3/4" |  | 0
10 | 1500 | (SDR-35) 8" |  | 0
11 | 500 | (SDR-35) 6" |  | 0
12 | 2000 | (SDR-35) 4" |  | 0
|  |  | TOTAL PIPE | 0
II. REPAIR CLAMPS & COUPLINGS
REPAIR CLAMPS (FULL CIRCLE)
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 15 | PVC FULL CIRCLE 8.60 - 9.00 OD 8" X 12" |  | 0
2 | 15 | PVC FULL CIRCLE 6.60 - 7.00 OD 6" X 12" |  | 0
3 | 15 | PVC FULL CIRCLE 4.45 - 4.85 OD 4" X 12" |  | 0
4 | 20 | PVC FULL CIRCLE 8.60 - 9.00 OD 8" X 7 1/2 " |  | 0
5 | 30 | PVC FULL CIRCLE 6.60 - 7.00 OD 6" X 7 1/2" |  | 0
6 | 20 | PVC FULL CIRCLE 4.45 - 4.88 OD 4" X 7 1/2" |  | 0
7 | 40 | PVC FULL CIRCLE 2.35 - 2.63 OD 2" X 7 1/2 " |  | 0
8 | 30 | REPAIR CLAMPS 2" X 6" |  | 0
9 | 30 | REPAIR CLAMPS 1 1/4" X 6" |  | 0
10 | 30 | REPAIR CLAMPS 3/4" X 6" |  | 0
11 | 30 | REPAIR CLAMPS 1 1/2" X 3" |  | 0
12 | 50 | REPAIR CLAMPS 3/4" X 3" |  | 0
13 | 10 | CI FULL CIRCLE 9.00 - 9.44 OD 8" X 12" |  | 0
14 | 10 | CI FULL CIRCLE 6.48 - 7.24 OD 6" X 12" |  | 0
15 | 20 | CI FULL CIRCLE 4.75 - 5.14 OD 4" X 12" |  | 0
16 | 10 | ABS FULL CIRCLE 9.00 - 9.40 OD 8" X 12" |  | 0
17 | 15 | ABS FULL CIRCLE 6.84 - 7.34 OD 6" X 12" |  | 0
18 | 10 | ABS FULL CIRCLE 4.95 - 5.35 OD 4" X 12" |  | 0
|  |  | SUBTOTAL | 0
DRESSER COUPLINGS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 5 | CL 160 PVC PIPE 8" |  | 0
2 | 5 | CL 160 PVC PIPE 6" |  | 0
3 | 10 | CL 160 PVC PIPE 4" |  | 0
4 | 10 | CL 160 PVC TO ABS PIPE 8" |  | 0
5 | 10 | CL 160 PVC TO ABS PIPE 6" |  | 0
6 | 10 | CL 160 PVC TO ABS PIPE 4" |  | 0
7 | 10 | CL 160 PVC PIPE 2" X 6" |  | 0
8 | 10 | CL 160 PVC PIPE 1 1/2" X 6" |  | 0
9 | 10 | CL 160 PVC PIPE 1 1/4" X 6" |  | 0
10 | 10 | (SDR-9) POLY PIPE 2" X 6" |  | 0
11 | 10 | (SDR-9) POLY PIPE 3/4" X 6" |  | 0
12 | 10 | PVC-CI 8.05 - 9.05 OD 8" |  | 0
13 | 10 | PVC-CI 6.05 - 6.90 OD 6" |  | 0
14 | 10 | PVC-CI 4.06 - 4.80 OD 4" |  | 0
15 | 10 | PVC-ABS 8.05 - 9.51 OD 8" |  | 0
16 | 10 | PVC-ABS 6.05 - 7.36 OD 6" |  | 0
17 | 10 | PVC-ABS 4.06 - 5.11 OD 4" |  | 0
18 | 25 | HYMAX COUPLINGS 4" |  | 0
19 | 25 | HYMAX COUPLINGS 6" |  | 0
20 | 25 | HYMAX COUPLINGS 8" |  | 0
|  |  | SUBTOTAL | 0
|  | TOTAL REPAIR CLAMPS & COUPLINGS |  | 0
III. BRASS FITTINGS
BRASS/CAST IRON/ABS TAPPING SADDLES
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 5 | CL 160 PVC PIPE 12" X 3/4" |  | 0
2 | 15 | CL 160 PVC PIPE 12"X 1" |  | 0
3 | 5 | CL 160 PVC PIPE 12" X 1 1/2" |  | 0
4 | 5 | CL 160 PVC PIPE 12" X 2" |  | 0
5 | 5 | CL 160 PVC PIPE 10" X 3/4" |  | 0
6 | 5 | CL 160 PVC PIPE 10" X 1 1/2" |  | 0
7 | 5 | CL 160 PVC PIPE 10" X 2" |  | 0
8 | 40 | CL 160 PVC PIPE 8" X 3/4" |  | 0
9 | 10 | CL 160 PVC PIPE 8" X 1" |  | 0
10 | 10 | CL 160 PVC PIPE 8" X 1 1/2" |  | 0
11 | 10 | CL 160 PVC PIPE 8" X 2" |  | 0
12 | 50 | CL 160 PVC PIPE 6" X 3/4" |  | 0
13 | 50 | CL 160 PVC PIPE 6" X 1" |  | 0
14 | 15 | CL 160 PVC PIPE 6 X 1 1/2" |  | 0
15 | 25 | CL 160 PVC PIPE 6" X 2" |  | 0
16 | 50 | CL 160 PVC PIPE 4" X 3/4" |  | 0
17 | 25 | CL 160 PVC PIPE 4" X 1" |  | 0
18 | 10 | CL 160 PVC PIPE 4" X 2" |  | 0
19 | 30 | CL 160 PVC PIPE 2" X 3/4" |  | 0
20 | 10 | CI TAPPING SADDLES 8" X 3/4" |  | 0
21 | 10 | CI TAPPING SADDLES 8" X 1" |  | 0
22 | 10 | CI TAPPING SADDLES 8" X 1 1/2" |  | 0
23 | 10 | CI TAPPING SADDLES 8" X 2" |  | 0
24 | 10 | CI TAPPING SADDLES 6" X 3/4" |  | 0
25 | 10 | CI TAPPING SADDLES 6" X 1" |  | 0
26 | 10 | CI TAPPING SADDLES 6" X 1 1/2" |  | 0
27 | 10 | CI TAPPING SADDLES 6" X 2" |  | 0
28 | 10 | CI TAPPING SADDLES 4" X 3/4" |  | 0
29 | 10 | CI TAPPING SADDLES 4" X 1" |  | 0
30 | 10 | CI TAPPING SADDLES 4" X 1 1/2" |  | 0
31 | 10 | CI TAPPING SADDLES 4" X 2" |  | 0
32 | 10 | CI TAPPING SADDLES 4" X 2" |  | 0
33 | 10 | ABS TAPPING SADDLES 8" X 3/4" |  | 0
34 | 10 | ABS TAPPING SADDLES 8" X 1" |  | 0
35 | 10 | ABS TAPPING SADDLES 8" X 1 1/2" |  | 0
36 | 10 | ABS TAPPING SADDLES 8" X 2" |  | 0
37 | 10 | ABS TAPPING SADDLES 6" X 3/4" |  | 0
38 | 10 | ABS TAPPING SADDLES 6" X 1" |  | 0
39 | 10 | ABS TAPPING SADDLES 6" X 1 1/2" |  | 0
40 | 10 | ABS TAPPING SADDLES 6" X 2" |  | 0
41 | 10 | ABS TAPPING SADDLES 4" X 3/4" |  | 0
42 | 10 | ABS TAPPING SADDLES 4" X 1" |  | 0
43 | 10 | ABS TAPPING SADDLES 4" X 1 1/2" |  | 0
44 | 10 | ABS TAPPING SADDLES 4" X 2" |  | 0
|  |  | SUBTOTAL | 0
BRASS ADAPTERS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 50 | MALE TO PACK 1 1/2" JOINT |  | 0
2 | 50 | MALE TO PACK 2" JOINT |  | 0
3 | 50 | FEMALE TO PACK 1 1/2" JOINT |  | 0
4 | 50 | FEMALE TO PACK 2 " JOINT |  | 0
5 | 55 | MALE TO PACK 1" JOINT |  | 0
6 | 55 | FEMALE TO PACK 1" JOINT |  | 0
7 | 200 | MALE TO PACK 3/4" |  | 0
8 | 200 | FEMALE TO PACK 3/4" |  | 0
9 | 25 | PACK TO PACK 2" |  | 0
10 | 25 | PACK TO PACK 1 1/2" |  | 0
11 | 50 | PACK TO PACK 1" |  | 0
12 | 200 | PACK TO PACK 3/4" |  | 0
13 | 50 | BRASS NIPPLES 2" X 6" |  | 0
14 | 50 | BRASS NIPPLES 1 1/2" X 6" |  | 0
15 | 50 | BRASS NIPPLES 2" X 3" |  | 0
16 | 50 | BRASS NIPPLES 1 1/2" X 3" |  | 0
17 | 50 | BRASS NIPPLES 1" X 6" |  | 0
18 | 50 | BRASS NIPPLES 2" CLOSED |  | 0
19 | 50 | BRASS TEES 2" |  | 0
20 | 75 | BRASS TEES 1" |  | 0
21 | 75 | MALE TO COMPRESSION 1" X 3/4" |  | 0
22 | 75 | COMPRESSION TO MALE 3/4" X 1" |  | 0
23 | 75 | BRASS BUSHINGS 2" X 1" |  | 0
24 | 75 | BRASS BUSHINGS 2" X 1/2" |  | 0
25 | 75 | BRASS BUSHINGS 1" X 3/4" |  | 0
|  |  | SUBTOTAL | 0
CORP STOPS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 50 | IPS X PJ 2" |  | 0
2 | 50 | IPS X PJ 1" |  | 0
3 | 50 | IPS X PJ 1 1/2" |  | 0
4 | 50 | IPS X PJ 3/4" |  | 0
|  |  | SUBTOTAL | 0
|  | TOTAL BRASS/CAST IRON/ABS FITTINGS |  | 0
IV. METERS
METERS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 15 | METERS *SENSUS (SRTRPL) TOUCH-READ 2"-1000 GAL REG |  | 0
2 | 30 | METERS *SENSUS (SRTRPL) TOUCH-READ 1 1/2"-1000 GAL REG |  | 0
3 | 50 | METERS*SENSUS (SRTRPL) TOUCH-READ 1"-100 GAL.REG |  | 0
4 | 50 | METERS*SENSUS (SRTRPL) TOUCH-READ 5/8"-100 GAL.REG |  | 0
4A | 200 | 5/8 TOUCH-READ REGISTERS*SENSUS-100 GAL. REG |  | 0
4B | 25 | 1" TOUCH-READ REGISTERS*SENSUS-100 GAL. REG |  | 0
4C | 25 | 1 1/2" TOUCH-READ REGISTERS *SENSUS-1000 GAL. REG. |  | 0
4D | 20 | 2" TOUCH-READ REGISTERS *SENSUS-1000 GAL. REG |  | 0
5 | 50 | METER BOTTOMS 1" PLASTIC |  | 0
6 | 50 | METER BOTTOMS 3/4" PLASTIC |  | 0
7 | 75 | METERS Badger m25 5/8"x3/4" RTR, Orion Pit with data profile |  | 0
8 | 25 | METERS Badger m70 1" RTR, Orion Pit with data profile |  | 0
9 | 10 | METERS Badger M120 1 1/2" RTR, Orion Pit with data profile |  | 0
10 | 15 | METERS Badger M170 2" RTR, Orion Pit with data profile |  | 0
11 | 50 | REGISTERS Badger 5/8" Orion Pit universal with Data Profile |  | 0
12 | 50 | REGISTERS Badger 1" Orion Pit universal with Data profile |  | 0
13 | 50 | REGISTERS Badger 1 1/2" Orion Pit universal with data profile |  | 0
14 | 50 | REGISTERS Badger 2" Orion Pit with universal data |  | 0
15 | 50 | METER BOTTOM BADGER 5/8" plastic |  | 0
16 | 50 | METER BOTTOM Badger 1" plastic |  | 0
|  |  | TOTAL METERS | 0
V. METER SETTERS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 10 | METER CANS 24" X 24" GALVANIZED W/TOUCH READ LIDS |  | 0
2 | 25 | METER CANS 18" X 24" GALVANIZED W/TOUCH READ LIDS |  | 0
3 | 50 | METER CANS 18" X 24" POLY W/TOUCH READ LIDS |  | 0
4 | 25 | SIDEWALK PLATES LIGHT DUTY W/TOUCH READ LIDS |  | 0
5 | 25 | METER SETTERS 2" X 12" DUAL CHECK |  | 0
6 | 20 | METER SETTERS 1 1/2" X 12" DUAL CHECK |  | 0
7 | 50 | METER SETTERS 1" DUAL CHECK |  | 0
8 | 50 | METER SETTERS 3/4" DUAL CHECK |  | 0
9 | 50 | METER SETTER EXTENSION 18" |  | 0
|  | TOTAL METER SETERS |  | 0
VI. WATER FITTINGS
TEE'S/ELL'S/VALVES (ACCESSORIES INCLUDED IN BID)
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 20 | CI TEE'S MJ 8" |  | 0
2 | 40 | CI TEES MJ 6" |  | 0
3 | 20 | CI TEES MJ 4" |  | 0
4 | 20 | CI ELL MJ 8" |  | 0
5 | 40 | CI ELL MJ 6" |  | 0
6 | 30 | CI ELL MJ 4" |  | 0
7 | 15 | CI VALVES MJ 8" |  | 0
8 | 25 | CI VALVES MJ 6" |  | 0
9 | 20 | CI VALVES MJ 4" |  | 0
10 | 15 | CI VALVES MJ 2" |  | 0
11 | 25 | CI CAP MJ 8" |  | 0
12 | 30 | CI CAP MJ 6" |  | 0
13 | 15 | CI CAP MJ 4" |  | 0
14 | 25 | CI PLUG MJ 8" |  | 0
15 | 30 | CI PLUG MJ 6" |  | 0
16 | 15 | CI PLUG MJ 4" |  | 0
17 | 50 | SLIP TYPE VALVE BOXES 24" TO 36" |  | 0
18 | 50 | VALVE BOX RISER 3" |  | 0
19 | 25 | VALVE BOX RISER 2" |  | 0
20 | 50 | MEGA LUGS 8" |  | 0
21 | 75 | MEGA LUGS 6" |  | 0
22 | 40 | MEGA LUGS 4" |  | 0
|  |  | SUBTOTAL | 0
REDUCERS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 15 | CI MJ 8" X 6" |  | 0
2 | 15 | CI MJ 8" X 4" |  | 0
3 | 30 | CI MJ 6" X 4" |  | 0
4 | 15 | CI MJ 6" X 3" |  | 0
|  |  | SUBTOTAL | 0
|  | TOTAL WATER FITTINGS |  | 0
VII. FIRE HYDRANTS
FIRE HYDRANTS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 |  | MUELLER-4' BURY
1A |  | MUELLER-3 1/2' BURY
2 | 25 | KENNEDY-4' BURY |  | 0
2A | 10 | KENNEDY-3 1/2' BURY |  | 0
|  | TOTAL FIRE HYDRANTS |  | 0
VIII. SEWER FITTINGS & SUPPLIES
MAN HOLE EXTENSIONS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 15 | MANHOLE EXTENSIONS 1 1/2" 99-425-A-10 |  | 0
2 | 15 | MANHOLE EXTENSIONS 2" 99-425-A-10 |  | 0
3 | 10 | MANHOLE EXTENSIONS 3" 99-425-C-10 W/LID S#09300C |  | 0
|  |  | SUBTOTAL | 0
SEWER COUPLINGS
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 20 | PVC TO CLAY CANTEX 8" |  | 0
2 | 20 | PVC TO CLAY CANTEX 6" |  | 0
3 | 60 | PVC TO CLAY CANTEX 4" |  | 0
4 | 20 | PVC TO PVC CANTEX 8" |  | 0
5 | 30 | PVC TO PVC CANTEX 6" |  | 0
6 | 75 | PVC TO PVC CANTEX 4" |  | 0
|  |  | SUBTOTAL | 0
SEWER CAPS / ELL'S / Y'S / SADDLES
ITEM | QUANTITY | DESCRIPTION | UNIT PRICE | TOTAL
1 | 10 | PVC (SDR-35) CAPS 8" |  | 0
2 | 10 | PVC (SDR-35) CAPS 6" |  | 0
3 | 50 | PVC (SDR-35) CAPS 4" |  | 0
4 | 10 | PVC ELL (90 DEG.) 8" |  | 0
5 | 25 | PVC ELL (90 DEG.) 6" |  | 0
6 | 75 | PVC ELL (90 DEG) 4" |  | 0
7 | 75 | PVC ELL (45 DEG.) 8" |  | 0
8 | 75 | PVC ELL (45 DEG.) 6" |  | 0
9 | 75 | PVC ELL (45 DEG.) 4" |  | 0
10 | 30 | Y (SDR-35) 8" |  | 0
11 | 30 | Y (SDR-35) 6" |  | 0
12 | 30 | Y (SDR-35) 4" |  | 0
13 | 30 | TAPPING SADDLE (SDR-35) 8" X 6" |  | 0
14 | 30 | TAPPING SADDLE (SDR-35) 8" X 4" |  | 0
15 | 30 | TAPPING SADDLE (SDR-35) 6" X 4" |  | 0
|  |  | SUBTOTAL | 0
|  | TOTAL SEWER FITTINGS & SUPPLIES |  | 0
|  |  | GRAND TOTAL | 0